Purpose and Scope

This procedure is in place to ensure that the outside premises are maintained in a manner to promote the hygienic operation of the facility.

Frequency

The outside premises will maintained on a regular basis.

Persons Responsible

The plant operator and or trained employee are responsible for inspecting and maintaining the outside premises.

Monitoring

Visually evaluate the exterior of the building. Check for any damage (holes, cracks) that may allow for entry of pests, water or other contaminants into the building. Check the door seals and foundation to ensure that they are intact.

Check the air vents and intakes to ensure that the screens or filters are maintained in a clean and well-constructed manner. These are located on the roof.

The parking area and driveway should be checked to ensure that there are no potholes where water could pool. Pooling water is a source of biological contamination. Check the drains to ensure that they are draining properly. Check for excessive refuse.

The lawn and gardens will be visually evaluated to ensure that they are well maintained. Long grass or an overgrown garden can harbor pests such as mice and volls. Check for excessive refuse.

The shipping and receiving areas should be checked for cleanliness. Also check to ensure that the drains are draining properly and that there is no damage to the shipping/receiving docks or doors that may allow entry of pests or other contaminants into the plant.

Inedible and Waste Storage Areas should be inspected for cleanliness. Ensure any containers are leak-proof and maintained in sound condition. Ensure no accumulation of refuse as this can be food for pests and lead to harborage.

Deviation Procedures

In the event that there are any deviations noted the plant operator is responsible for ensuring that the appropriate corrective actions are taken, e.g. grass cut, weeds removed, screens repaired.

The operator will ensure that any major deviations, e.g. blocked drain, will be corrected immediately.

If a deviation cannot be resolved quickly due to circumstances beyond the plant operator’s control, e.g. potholes fixed due to weather condition, an Action Plan will be written with the deviation and the expected date of corrective actions.

Records

LIST ALL RECORDS HERE